## Hoja1
Nº | City | Address | System | River | Name | ZONE | Latitude | Longitude | Technology | Status | Flow (m3/s) | Falls down (M) | Power (MW) | Plant factor (%) | Efficiency average of Units (%) | Type of turbine | # Turbine | Power of turbine by Units (MW) | Power of turbine (MW) | Reservoir Capacity TOTAL (hm3) | Reservoir Capacity Useful (hm3) | Reservoir Capacity (hm3) | Dam height | Ownership | Efficiency | STOCapacity | Empty Storage (dias)
1 | Potosi | ProvinceMurillo | Sistema Zongo | Derretimiento del Glacial Huayna Potosi | VALLE DE ZONGO - ZONGO | NO | -16.2802 | -68.1223 | HDAM | In Operating | 0.37 | 379 | 11 |  |  | Pelton | 1 | 10.8 | 10.8 | 3.6 | 3.6 | 3.059 |  | COBEE S.A. | 0.85 | 3219.28 | 12.1942 | 292.6618
2 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - TIQUIMANI | NO | -16.2072 | -68.1236 | HROR | In Operating | 0.18 | 513 | 9.7 |  |  | Pelton | 1 | 9.6 | 9.6 | 6.411e-06 | 6.411 | 6.125 |  | COBEE S.A. | 0.85 | 8724.97 | 37.4784 | 899.4814
3 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - BOTIJILACA | NO | -16.1924 | -68.1408 | HROR | In Operating | 1.31 | 383 | 6.8 |  |  | Pelton | 3 | Different | 6.9 |  |  |  |  | COBEE S.A. | 0.85
4 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - CUTICUCHO | NO | -16.1421 | -68.1161 | HROR | In Operation | 0.23 | 668 | 23 |  |  | Pelton | 5 | Different | 22 |  |  |  |  | COBEE S.A. | 0.85
5 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - SANTA ROSA_1 | NO | -16.1317 | -68.1097 | HROR | In Operation | 0.27 | 187.5 | 6.9 |  |  | Francis | 1 | 6.9 | 6.9 |  |  |  |  | COBEE S.A. | 0.85
6 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - SANTA ROSA_2 | NO | -16.1317 | -68.1097 | HDAM | In Operation | 0.33 | 836.2 | 10.7 |  |  | Pelton | 1 | 10.5 | 10.5 |  |  | 0.445 |  | COBEE S.A. | 0.85 | 1033.26 | 4.0236 | 96.5664
7 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - SAINANI | NO | -16.1239 | -68.0901 | HROR | In Operation | 0.45 | 291 | 10.5 |  |  | Pelton | 1 | 11.6 | 11.6 |  |  |  |  | COBEE S.A. | 0.85
8 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - CHURURAQUI | NO | -16.1072 | -68.071 | HROR | In Operation | 1.5 | 375 | 25.4 |  |  | Pelton | 2 | 13.3 | 26.6 |  |  |  |  | COBEE S.A. | 0.85
9 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - HARCA | NO | -16.0886 | -68.0446 | HROR | In Operation | 0.85 | 345 | 25.8 |  |  | Pelton | 2 | 12.5 | 25 |  |  |  |  | COBEE S.A. | 0.85
10 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - CAHUA | NO | -16.0562 | -68.0145 | HROR | In Operation | 1.01 | 285 | 28.1 |  |  | Pelton | 2 | 13.3 | 26.6 |  |  |  |  | COBEE S.A. | 0.85
11 | Potosi | ProvinceMurillo | Sistema Zongo | Descarga de plantas de Zongo, pequeños ríos y el río Zongo | VALLE DE ZONGO - HUAJI | NO | -16.0411 | -68.9772 | HROR | In Operation | 1.48 | 250 | 30.2 | 64% |  | Pelton | 2 | 14.7 | 29.4 |  |  |  |  | COBEE S.A. | 0.64
12 | La Paz | Province Sur Yungas | Sistema Taquesi | River Taquesi | CHOJLLA | NO | -16.4125 | -67.7725 | HDAM | In Operation | 0.79 | 560.8 | 38.4 |  |  | Francis de eje vertical | 1 | 39 | 39 |  |  | 5.435 |  | HB | 0.85 | 8463.47 | 9.1835 | 220.4029
13 | La Paz | Province Sur Yungas | Sistema Taquesi | River Taquesi | YANACACHI | NO | -16.3879 | -61.7376 | HROR | In Operation | 1.15 | 492.3 | 50.8 |  |  | Francis de eje vertical | 1 | 51.8 | 51.8 |  |  |  |  | HB | 0.85
14 | Cochabamba | Province Chapare | Sistema Corani | Río Malaga y otros pequeños ríos | CORANI | CE | -17.2277 | -65.8928 | HDAM | In Operation | 21.4 | 622.3 | 54 | 73.37% | 87.78% | Pelton | 4 | 15.3 | 61.2 | 168 | 137.996 | 137.99 | 26 | ENDE - Corani | 0.7337 | 238444.94 | 183.9853 | 4415.647
15 | Cochabamba | Province Chapare | Sistema Corani | Descarga desde la planta Corani | SANTA ISABEL | CE | -17.1916 | -65.8232 | HROR | In Operation | 21.4 | 856.7 | 93 | 74.48% | 88.92% | Pelton | 5 | Different | 97.3 |  |  |  |  | ENDE - Corani | 0.7448
16 | Cochabamba | Province Chapare | Sistema Corani | Ríos Paracty y Malaga | SAN JOSE 1 | CE | -17.1693 | -65.7865 | HROR | In Operation | 21.4 | 313 | 55 | 73.21% | 90.05% |  | 2 | [6 empty] | ENDE - Corani | 0.7321
17 | Cochabamba | Province Chapare | Sistema Corani | Río Paracti | SAN JOSE 2 | CE | -17.1041 | -65.7844 | HROR | In Operation | 21.4 | 369 | 69 | 60.58% | 89.34% | Pelton | 2 | [6 empty] | ENDE - Corani | 0.6058
18 | Cochabamba Santa Cruz | Province Chapare | Sistema Corani | Ríos Paracti, Mascota y San Martin | BANDA AZUL | CE | -17.0526 | -65.7481 | HROR | under construction | 60 | 100 | 147 | [10 empty] | ENDE - Corani | 0.85
19 | Cochabamba | Province Quillacollo | Sistema Misicuni | Rio Misicuni | MISICUNI | CE | -17.0972 | -66.329 | HDAM | In Operation | 2.39 | 1035.5 | 120 |  |  | Pelton | 3 | 40 | 120 | 185.5 | 156.1 | 156.1 |  | ENDE - Corporacion | 0.85 | 448842.22 | 155.848 | 3740.3518
20 | La Paz | Province Inquisivi | Sistema Miguilla |  | MIGUILLA | NO | -16.9256 | -67.3248 | HDAM | In Operation | 16 | 480 | 2.5 |  |  | Pelton | 2 | 1.5 | 3 |  |  | 5.435 |  | COBEE S.A. | 0.85 | 7244.05 | 120.7342 | 2897.62
21 | La Paz | Province Inquisivi | Sistema Miguilla |  | ANGOSTURA | NO | -16.8937 | -67.3154 | HROR | In Operation | 1.1636 | 533 | 6.2 |  |  | Pelton | 3 | Different | 6.8 |  |  |  |  | COBEE S.A. | 0.85
22 | La Paz | Province Inquisivi | Sistema Miguilla |  | CHOQUETANGA | NO | -16.8508 | -67.3155 | HROR | In Operation | 1.2505 | 488 | 6.1 |  |  | Pelton | 3 | 2.6 | 7.8 |  |  |  |  | COBEE S.A. | 0.85
23 | La Paz | Province Inquisivi | Sistema Miguilla |  | CARABUCO | NO | -16.8157 | -67.3248 | HROR | In Operation | 1.8107 | 337 | 6.1 |  |  | Pelton | 1 | 6.4 | 6.4 |  |  |  |  | COBEE S.A. | 0.85
24 | La Paz | Province Inquisivi | Sistema Miguilla | Aguas del glacial el Gigante | MIGUILLAS - UMAPALCA | NO | -16.9347 | -67.3268 | HDAM | Under Construction | 11.53 | 859 | 84 | 60% |  | Pelton | 3 | 87 | 261 | 4.04 | 2.983 | 2.983 |  | ENDE - Valle Hermoso | 0.6 | 7115.2 | 3.5294 | 84.7048
25 | La Paz | Province Inquisivi | Sistema Miguilla | Descarga desde la planta Umapalca | MIGUILLAS - PALILLADA | NO | -16.6664 | -67.3526 | HROR | Under Construction | 20 | 757 | 116 | 60% |  | Pelton | 3 | 120 | 360 |  |  |  |  | ENDE - Valle Hermoso | 0.6
26 | Potosi | Township Tamave | Sistema Yura | River Yura | KILPANI | SU | -19.7825 | -66.3478 | HROR | In Operation | 4.1086 | 280 | 11.5 |  |  | Pelton | 3 | Different | 11.9 |  |  |  |  | Empresa Río Eléctrico SA ERESA | 0.85
27 | Potosi | Township Tamave | Sistema Yura | River Yura | LANDARA | SU | -19.8167 | -66.322 | HROR | In Operation | 5.1018 | 100 | 5.1 |  |  | Francis | 3 | Different | 5.7 |  |  |  |  | Empresa Río Eléctrico SA ERESA | 0.85
28 | Potosi | Township Tamave | Sistema Yura | River Yura | PUNUTUMA | SU | -20.0481 | -66.1345 | HROR | In Operation | 2.4281 | 103 | 2.5 |  |  | Francis | 1 | 3 | 3 |  |  |  |  | Empresa Río Eléctrico SA ERESA | 0.85
30 | Cochabamba | Providence Cercado | Independent | Aguas PH_Misicuni | KANATA | CE | -17.3164 | -66.2222 | HROR | In Operation | 0.25 | 1210 | 7.8 |  |  | Pelton | 1 | 7.9 | 7.9 |  |  |  |  | SYNERGIA S.A. | 0.85
31 | Tarija |  | Independent | River Tolomosa, Tolomosita, Mena and la Vitoria | SAN JACINTO | SU | -21.5993 | -64.7385 | HDAM | In Operation | 2.46 | 47.9 | 7 |  |  | Francis de eje horizontal | 2 | 1.9 | 3.8 |  |  | 50 | 46 | ENDE Guaracachi S.A. | 0.85 | 6650.38 | 39.5856 | 950.0543
32 | Cochabamba | Provincia Chapare | Independent | Ríos paracti y Juntas Corani | ICONA | CE | -17.0254 | -65.694 | HDAM | Under desing | 80 | 159 | 102 | [6 empty] | 236 | 172 | 172 | 120 | ENDE - Corani | 0.85 | 75939.24 | 31.0209 | 744.5024
33 | Cochabamba | Provincia Campero | Independent | Ríos Lope Mendoza, Fuertes e Ivirizu | IVIRIZU - SEHUENCAS | CE | -17.5464 | -65.2673 | HDAM | under construction | 26.5 | 811.6 | 188 | 46% |  | Pelton | 3 | 67.749 |  | 40 | 40 | 40 | 105 | ENDE - Valle Hermoso | 0.46 | 90145.22 | 19.979 | 479.4959
34 | Cochabamba | Provincia Campero | Independent | Ríos Lopez Mendoza, e Ivirizu | IVIRIZU - JUNTAS | CE | -17.4744 | -65.2758 | HROR | under construction | 32.5 | 326.5 | 91 | 44% |  | Francis | 2 | 46.994 | [5 empty] | ENDE - Valle Hermoso | 0.44
35 | Chuquisaca Tarija | Provincia Eustaquio Méndez | Independent | Ríos Tumusla, San Juan y Camblaya | CARRIZAL | SU | -21.0192 | -64.972 | HDAM | Under design | 63 | 120 | 75 | 53% | [5 empty] | 1238 | 627 | 627 | 160 | ENDE - Valle Hermoso ENDE - Matriz | 0.53 | 208924.55 | 116.0692 | 2785.6607
35 | Chuquisaca Tarija | Provincia Eustaquio Méndez | Independent | Ríos Tumusla, San Juan y Camblaya | CARRIZAL_2 | SU |  |  | HROR | Under design | 68 | 163 | 68 | 66% | [9 empty] | ENDE - Valle Hermoso ENDE - Matriz | 0.66
35 | Chuquisaca Tarija | Provincia Eustaquio Méndez | Independent | Ríos Tumusla, San Juan y Camblaya | CARRIZAL_3 | SU |  |  | HROR | Under design | 65 | 457 | 203.5 | 66% | [9 empty] | ENDE - Valle Hermoso ENDE - Matriz | 0.66
36 | Potosi Cochabamba | Provincia Charcas Povincia Mizque | Independent | Rìo Caine | MOLINEROS | CE | -17.956 | -65.944 | HDAM | Under design | 44.6 | 197.5 | 100 | 50% |  | Francis | 4 | 33 |  | 3310 | 3310 | 3310 | 200 | ENDE - Valle Hermoso | 0.5 | 1815247.24 | 756.353 | 18152.4724
37 | Chuquisaca | Township Incahuasi | Independent | Rìo Incahuasi | INCAHUASI | SU | -20.238 | -64.656 | HDAM | Under design | 1.2 | 1226 | 12.27 | 68% | [7 empty] | 0.15 | 40 | ENDE - Matriz | 0.68 | 510.65 | 1.7341 | 41.6178
38 | La Paz | Municipio de Ichoca de la provincia Inquisivi | Independent | Río Coroico | MUNECAS | NO | -15.883 | -68.987 | HROR | Under design | 101.8 | 32 | 27.3 | [9 empty] | 35 | ENDE - Valle Hermoso | 0.85
39 | Potosi | Uncia Pocoata | PH_Rìo Chayanta | River Chayanta | CHIUTA | SU | -18.5131 | -66.2901 | HROR | Under design | 16 | 162.26 | 10.14 | [9 empty] | 140 |  | 0.85
40 | Potosi | Chayanta Pocoata | PH_Rìo Chayanta | River Chayanta | INKAPINKINA | SU | -18.5053 | -66.0865 | HROR | Under design | 14 | 161.24 | 20.15 | [9 empty] | 25 |  | 0.85
41 | Potosi | Pocoata | PH_Rìo Chayanta | River Chayanta | KIRKI | SU | -18.4427 | -65.8203 | HROR | Under design | 47 | 235.9 | 56.25 | [9 empty] | 140 |  | 0.85
42 | Tarija | provincia Eustaquio Méndez, municipio de San Lorenzo | Independent | Río Casa Cancha y Huacata | HUACATA | SU | -21.1989 | -64.8021 | HDAM | Under design | 1.4 | 536 | 5.83 | 25% |  |  | 1 |  |  | 11.2 | 10.9 | 10.9 | 27 | ENDE - Valle Hermoso | 0.25 | 16223.03 | 115.945 | 2782.681
43 | Beni |  | Independent | Rìo Beni | CACHUELA ESPERANZA | NO | -10.827 | -65.903 | HDAM | Under design | 10150 | 10.8 | 990 | 65% |  | Bulbo | 18 | 55 |  | 25530 | 25530 | 25530 |  | ENDE - Corporacion | 0.65 | 765623.51 | 32.2232 | 773.3571
44 | La Paz | Provincias Abel Iturralde (La Paz) y Gral. Ballivián (Beni) | PH_El Bala | Río Beni | CHEPETE | NO | -14.9721 | -67.6851 | HDAM | Under design | 1600 | 183 | 3251 |  |  | Francis de eje vertical | 16 | 168.75 |  | 31430 | 25900 | 25900 |  | ENDE - Corporacion | 0.85 | 13161080.47 | 168.6799 | 4048.3176
45 | La Paz Beni | Provincias Abel Iturralde (La Paz) y Gral. Ballivián (Beni) | PH_El Bala | Río Beni | EL BALA | NO | -14.547 | -67.4986 | HDAM | Under design | 1062.8837 | 40 | 425 |  |  | Bulbo | 12 |  |  |  |  | 3596.1595 |  | ENDE - Corporacion | 0.85 | 399429.03 | 39.1597 | 939.833
46 |  |  | Independent |  | QUEHATA |  |  |  | HDAM | In Operation |  | 170 | 1.97 |  |  | Pelthon | 2 | 1 | [5 empty] | SDB | 0.85
47 | Tarija | Provincia Arce | Independent | Rìo Tarija | CAMBARI | SU | -22.247 | -64.437 | HDAM | Under design | 115 | 105 | 93 |  |  | Francis | 2 |  |  | 1007 | 1007 | 1007 | 120 | ENDE - Valle Hermoso | 0.85 | 293602.3 | 131.5422 | 3157.014
48 | Cochabamba | Province Chapare | Independent |  | AMBROSIA |  | -16.423 | -65.402 | HROR | Under design |  |  | 87 | [10 empty] | ENDE - Corani | 0.85
49 | Cochabamba | Province Chapare | PH Juntas Corani | Rio Juntas Corani | VILLA JORKA | CE | -16.9115 | -65.889 | HDAM | Under design | 60 | 297 | 140 |  |  | Francis | 2 |  |  | 70 | 70 | 308 | 154 | ENDE - Corani | 0.85 | 254008.27 | 75.5977 | 1814.3448
50 | Cochabamba | Province Chapare | PH Juntas Corani | Rio Juntas Corani | SANTA ROSA 1 | CE | -16.9755 | -65.7425 | HDAM | Under design | 60 | 500.1806 | 300 | [8 empty] | 308 |  | ENDE - Corani | 0.85 | 427777.78 | 59.4136 | 1425.9259
| Santa Cruz | Municipio de Charagua | PH_Rio Parapeti | Rìo Parapetí | SARARENDA | OR |  |  | HROR | Under design |  |  | 60 | [11 empty] | 0.85
| Santa Cruz | Municipio de Charagua | PH_Rio Parapeti | Rìo Parapetí | SANTA RITA | OR |  |  | HROR | Under design |  |  | 28 | [11 empty] | 0.85
51 | Santa Cruz | Municipio de Charagua | PH_Rio Parapeti | Rìo Parapetí | OKITAS | OR | -17.736 | -62.679 | HROR | Under design | 32 | 87.5316 | 28 | [10 empty] | ENDE Guaracachi S.A | 0.85
52 | Santa Cruz | Provincia Valle Grande | Complejo Hidroelectrico Rìo Grande | Río Grande | JATUN PAMPA | CE | -18.4662 | -64.8728 | HDAM | Under design | 214 | 60.7696 | 130 | [8 empty] | 3148 |  | ENDE - Corporacion | 0.85 | 531204.57 | 170.2579 | 4086.189
53 | Santa Cruz | Provincia Valle Grande | Complejo Hidroelectrico Rìo Grande | River Grande | SERIPOMA | CE | -18.5053 | -64.6693 | HDAM | Under desing | 171 | 184 | 400 | [8 empty] | 3148 | 190 | ENDE - Corporacion | 0.85 | 1608396.94 | 167.5413 | 4020.9923
54 | Santa Cruz | Provincia Valle Grande | Complejo Hidroelectrico Rìo Grande | River Grande | CANAHUECAL | CE | -18.6071 | -64.5675 | HDAM | Under desing | 194 | 206 | 500 | [8 empty] | 8388 | 196 | ENDE - Corporacion | 0.85 | 4798067.27 | 399.8389 | 9596.1345
55 | Santa Cruz | Provincia Valle Grande | Complejo Hidroelectrico Rìo Grande | River Grande | LAS JUNTAS | OR | -18.7794 | -64.2621 | HDAM | Under desing | 273 | 64 | 170 | [8 empty] | 516 | 75 | ENDE - Corporacion | 0.85 | 91700.22 | 22.4755 | 539.4131
56 | Santa Cruz | Provincia Valle Grande | Complejo Hidroelectrico Rìo Grande | River Grande | OCAMPO | OR | -18.889 | -64.1916 | HDAM | Under desing | 276 | 56 | 300 | [8 empty] | 835 | 67 | ENDE - Corporacion | 0.85 | 129842 | 18.0336 | 432.8067
57 | Santa Cruz | Provincia Valle Grande | Complejo Hidroelectrico Rìo Grande | River Grande | PENA BLANCA | OR | -18.9908 | -63.9097 | HDAM | Under desing | 285 | 135 | 500 | [8 empty] | 1038 | 145 | ENDE - Corporacion | 0.85 | 389109.48 | 32.4258 | 778.219
58 | Santa Cruz | Provincia Valle Grande | Complejo Hidroelectrico Rìo Grande | River Grande | LA PESCA | OR | -19.0143 | -63.714 | HDAM | Under desing | 304 | 135 | 700 | [8 empty] | 4872 | 160 | ENDE - Corporacion | 0.85 | 1826340.45 | 108.7107 | 2609.0578
59 | Santa Cruz | Provincia Valle Grande | Complejo Hidroelectrico Rìo Grande | Río Grande | ROSITAS | OR | -18.8946 | -63.5348 | HDAM | Under design | 600 | 115 | 600 |  |  | Francis de eje vertical | 4 | 150 |  | 19094.51 | 14829.16 | 19094 | 162 | ENDE - Corporacion | 0.85 | 6097270.31 | 423.4215 | 10162.1172
Note on N1: VLIR_energy: Potencia Efecctiva
Note on S1: VLIR_energy: Potencia de la Turbina
Note on W21: VLIR_energy: Inventado
Note on W47: VLIR_energy: Estimado
Note on W56: VLIR_energy: INVENTADO